## gages_database
record_id | gage_id | month_code | month_name | number | type_raw | gage_type | description | manufacturer | model_part_number | serial_number | last_cert_update | cycle_rule | due_date | cert_number | condition | comments | status | problem_flag | source_sheet | active_flag | Use this sheet as the primary gage table for the app database.
1 | A3 | A | January | 3 | Micrometer | Dial/Digital | 2.00005 - 3.00005 OD Digital Mics | Mitutoyo | 293-332 | 85058139 | 2025-01-15 | Annual review | 2027-01-01 |  |  | Paint is worn. Cleaned | OK |  | Hand Gages Master Entry | Y
2 | A4 | A | January | 4 | Thrd ring | Thread Ring | 1/2 - 20 UNF 2A Thrd Ring NO GO | GF Gage |  | 12127 | 2024-11-08 | Annual review / 3 yr cert | 2027-01-01 |  |  | Pairs with L44 for set. FDH mis-labeled A4 as L4. | OK |  | Hand Gages Master Entry | Y
3 | A10 | A | January | 10 | Calipers | Dial/Digital | 0-24.000" DIGITAL CALIPER | SPI |  | 13-16-5 | 2025-02-20 | Annual review | 2027-01-01 |  |  | Cleaned & labeled | OK |  | Hand Gages Master Entry | Y
4 | A12 | A | January | 12 | Thrd Ring | Thread Ring | 3/4-14 BSPP MOD Thrd Ring - GO |  |  |  | 2024-07-03 | Annual review / 3 yr cert | 2027-01-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
5 | A13 | A | January | 13 | Thrd Ring | Thread Ring | 3/4-14 BSPP MOD Thrd Ring - NOGO |  |  |  | 2024-07-03 | Annual review / 3 yr cert | 2027-01-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
6 | A15 | A | January | 15 | Pins | Unclassified | .061 - .250 PLUS TOL PINS | VARIOUS |  |  | 2024-01-15 | Annual review | 2027-01-01 |  |  | Jan '24 - switched to "calibrate before use" 'some pins missing. | OK |  | Hand Gages Master Entry | Y
7 | A19 | A | January | 19 | Micrometer | Dial/Digital | 9.000 - 10.000 OD Mics | Starrett | No. 436 |  | 2025-01-15 | Annual review | 2027-01-01 |  |  | initial entry - oiled and cleaned | OK |  | Hand Gages Master Entry | Y
8 | A20 | A | January | 20 | Thrd Plug | Thread Plug | 1 1/4-11 1/2 NPT Thrd Plug Single | VTG |  | 1605487 | 2024-04-26 | Annual review / 3 yr cert | 2027-01-01 |  |  | No Handle - just the plug. | OK |  | Hand Gages Master Entry | Y
9 | A24 | A | January | 24 | Thrd Ring | Thread Ring | 3/8 -24 UNF 2A Thrd Ring - NO GO | VTG - 0.3468 |  | 1550237 | 2025-05-30 | Annual review / 3 yr cert | 2027-01-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
10 | A32 | A | January | 32 | Thrd Plug | Thread Plug | M14 x 2.0-6H Thrd Plug Dbl |  |  |  | 2024-05-02 | Annual review / 3 yr cert | 2027-01-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
11 | A46 | A | January | 46 | Thrd Plug | Thread Plug | 1 3/4-8 UN 2b THRD PLG DBL | THREAD CHECK |  |  |  | Annual review / 3 yr cert | 2027-01-01 |  |  | Had to make new log sheet | OK |  | Hand Gages Master Entry | Y
12 | A47 | A | January | 47 | Micrometer | Dial/Digital | 0"-1.000" OD 30° point mics |  | 112-225 | 5000425 | 2025-01-15 | Annual review | 2027-01-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
13 | A62 | A | January | 62 | Calipers | Dial/Digital | 0-12" Dial Calipr | Mitutoyo | 505-720 | 10560571 | 2024-12-05 | Annual review | 2027-01-01 |  |  | brought up from plant C - very dirty. Cleaned up, added wire stop, ground ID blades to zero. PLANT C location | OK |  | Hand Gages Master Entry | Y
14 | A64 | A | January | 64 | Thrd Plug | Thread Plug | 2 - 56 UNC 2B Thrd Plug - DBL | Greenfield |  |  | 2025-01-15 | Annual review / 3 yr cert | 2027-01-01 |  |  | low use - extended internally. PM 2025 | OK |  | Hand Gages Master Entry | Y
15 | A65 | A | January | 65 | Thrd Ring | Thread Ring | M8 x 1.25-6g Thrd Ring - GO | VTG |  | 7160 | 2025-06-30 | Annual review / 3 yr cert | 2027-01-01 |  |  | Re-labeled for 3 year (7/24) | OK |  | Hand Gages Master Entry | Y
16 | A66 | A | January | 66 | Thrd Ring | Thread Ring | M8 x 1.25-6g Thrd Ring - GO | VTG |  | 938860 | 2025-06-30 | Annual review / 3 yr cert | 2027-01-01 |  |  | Re-labeled for 3 year (7/24) | OK |  | Hand Gages Master Entry | Y
17 | A69 | A | January | 69 | Thrd Ring | Thread Ring | M30 x 3.5-6g Thrd Ring - GO | MC |  | GD1208 | 2025-03-28 | Annual review / 3 yr cert | 2027-01-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
18 | A70 | A | January | 70 | Thrd Ring | Thread Ring | M30 x 3.5-6g Thrd Ring - NO Go | MC |  |  | 2025-01-07 | Annual review / 3 yr cert | 2027-01-01 |  |  | record and cert - use FDH for this | OK |  | Hand Gages Master Entry | Y
19 | A71 | A | January | 71 | Thrd Ring | Thread Ring | 7/8-14 UNF 3A GO | VTG |  | 2229472 | 2024-04-26 | Annual review / 3 yr cert | 2027-01-01 |  |  | PO 93379 | OK |  | Hand Gages Master Entry | Y
20 | A97 | A | January | 97 | Micrometer | Dial/Digital | 0 - 1.0000" OD mics - digital | Mitutoyo | 293-340-30 | 720880498 | 2025-01-15 | Annual review | 2027-01-01 |  |  | Showed up unexpectedly 11/20/24 - had been lost. Cleaned, calibrated, engraved. | OK |  | Hand Gages Master Entry | Y
21 | A98 | A | January | 98 | Calipers | Dial/Digital | 0 - 8.0000" | Mitutoyo | 500-197-30 | B17432484 |  | Annual review | 2027-01-01 |  |  | Annual - worn but OK Removed from service 3-3-25 - stem face damaged, won't stop blinking. Keep for parts | OK |  | Hand Gages Master Entry | Y
22 | A99 | A | January | 99 | Calipers | Dial/Digital | 0 - 8.0000" | Mitutoyo | 500-197-30 | B17432485 | 2025-02-20 | Annual review | 2027-01-01 |  |  | Replaced thumbwheel & thumbwheel holder 2/20/25, returned to regular service | OK |  | Hand Gages Master Entry | Y
23 | A100 | A | January | 100 | Micrometer | Dial/Digital | 0-1 in mic | Mitutoyo | 293-348-30 | 76095116 | 2025-02-28 | Annual review | 2027-01-01 |  |  | NEW 2024 | OK |  | Hand Gages Master Entry | Y
24 | B55 | B | February | 55 | Thrd Ring | Thread Ring | 1/2 - 13 UNC 3A Thrd Ring - GO | Interapid |  |  | 2025-02-24 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
25 | B56 | B | February | 56 | Thrd Plug | Thread Plug | 7/16-28 UNEF 2B Thrd Plug - dbl | Vermont Gage |  |  | 2025-02-24 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
26 | B58 | B | February | 58 | Thrd Ring | Thread Ring | 1/2 - 13 UNC 3A Thrd Ring - NOGO | Interapid |  |  | 2025-02-24 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
27 | B67 | B | February | 67 | Pitch Micrometer | Dial/Digital | 1 - 2 in 14 - 18 P. Pitch Mics | Starrett | 585 |  | 2024-11-08 | Annual review | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
28 | B68 | B | February | 68 | Pitch Micrometer | Dial/Digital | 1 - 2 in 20 - 24 P. Pitch Mics | Starrett |  |  | 2024-07-03 | Annual review | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
29 | B69 | B | February | 69 | Pitch Micrometer | Dial/Digital | 1 - 2 in 10 - 13 P. Pitch Mics | Starrett |  |  | 2024-07-01 | Annual review | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
30 | B71 | B | February | 71 | Pitch Micrometer | Dial/Digital | 0 - 1 in 7 - 9 P. Pitch Mics | Starrett |  |  | 2024-07-03 | Annual review | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
31 | B74 | B | February | 74 | Pitch Micrometer | Dial/Digital | 1 - 2 in 28 - 30 P. Pitch Mics | Starrett |  |  | 2024-07-03 | Annual review | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
32 | B80 | B | February | 80 | Blade Micrometer | Dial/Digital | 0 - 1.0000" OD Blade Mics | Shars |  | 160615824 | 2025-02-17 | Annual review | 2027-02-01 |  |  | V. Good Cond | OK |  | Hand Gages Master Entry | Y
33 | B91 | B | February | 91 | Micrometer | Dial/Digital | 0 - 1.000" OD Anvil Mics | Mitutoyo |  | 17011465 | 2025-02-17 | Annual review | 2027-02-01 |  |  | Good Cond | OK |  | Hand Gages Master Entry | Y
34 | B93 | B | February | 93 | Thrd Ring | Thread Ring | 1/2 - 20 UNF -2A Thrd Ring - GO | Interstate |  |  | 2024-07-01 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
35 | B94 | B | February | 94 | Thrd Ring | Thread Ring | 1/2 - 20 UNF -2A Thrd Ring - NOGO | G. A. Co. |  | G70004 | 2024-07-01 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
36 | B95 | B | February | 95 | Thrd Ring | Thread Ring | 1/2-20 UNF 3A Thrd Ring NO GO | Interstate |  | 52717 | 2024-11-08 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
37 | B99 | B | February | 99 | MIcrometer | Dial/Digital | 2.000" - 3.000" OD mics | Starrett | 226 |  | 2025-02-28 | Annual review | 2027-02-01 |  |  | Worn, but accurate | OK |  | Hand Gages Master Entry | Y
38 | B102 | B | February | 102 | Thrd plug | Thread Plug | 1/8-27 NPSF Thrd Plug Dbl | Regal |  |  | 2024-05-02 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
39 | B105 | B | February | 105 | THRD RING | Thread Ring | 1 1/4-18 NPTF L-1 THRD RING TAPERED | REGAL |  |  | 2025-01-07 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
40 | B107 | B | February | 107 | Thrd ring | Thread Ring | 7/8 - 14 UNF 2A Thrd Ring - GO | Interstate |  |  | 2024-07-01 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
41 | B108 | B | February | 108 | Thrd Ring | Thread Ring | 7/8 - 14 UNF 2A Thrd Ring - NOGO | Interstate |  |  | 2024-07-01 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
42 | B111 | B | February | 111 | Thrd Ring | Thread Ring | 5/8 - 24 UNEF - 2A Thrd Ring - GO | Greenfield |  | 106811590 | 2025-05-30 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
43 | B112 | B | February | 112 | Thrd Ring | Thread Ring | 5/8 - 24 UNEF- 2A Thrd Ring - NO GO | Greenfield |  | 105687620 | 2025-05-30 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
44 | B113 | B | February | 113 | Gage pins | Unclassified | 0.251 - 0.500 Gage Pins - Plus | Vermont |  |  | 2025-01-31 | Annual review | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
45 | B126 | B | February | 126 | Hole Micrometer | Dial/Digital | 0.800" - 1.000" | Brown & Sharpe |  | 281 | 2025-02-17 | Annual review | 2027-02-01 |  |  | Annual | OK |  | Hand Gages Master Entry | Y
46 | B128 | B | February | 128 | Thrd Plug | Thread Plug | 4.0 - 8 NPT-L1 Thrd Plug - Tapered | Thread Check |  |  | 2024-07-03 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
47 | B130 | B | February | 130 | Thrd Ring | Thread Ring | 4-8" NPT Thrd Ring | Thread Check |  | 2007786 | 2024-07-01 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
48 | B131 | B | February | 131 | Thrd Ring | Thread Ring | 9/16 - 20 UN-2A Thrd Ring - GO |  |  |  | 2025-03-28 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
49 | B131 | B | February | 131 | Thrd Ring | Thread Ring | 9/16-20 UNC 2A Thrd Ring - GO |  |  |  |  | Annual review / 3 yr cert | 2027-02-01 |  |  | 7-26-24 - ID'd as need calibration | OK |  | Hand Gages Master Entry | Y
50 | B132 | B | February | 132 | Thrd Ring | Thread Ring | 9/16-20 UN-2A Thrd Ring - NOGO |  |  |  | 2025-03-28 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
51 | B132 | B | February | 132 | Thrd Ring | Thread Ring | 9/16-20 UNC 2A Thrd Ring - NO GO |  |  |  |  | Annual review / 3 yr cert | 2027-02-01 |  |  | Jay came and got set | OK |  | Hand Gages Master Entry | Y
52 | B133 | B | February | 133 | Thrd Ring | Thread Ring | 1 1/4-11 1/2 NPT |  |  |  | 2024-04-26 | Annual review / 3 yr cert | 2027-02-01 |  |  | PO 93379 | OK |  | Hand Gages Master Entry | Y
53 | B134 | B | February | 134 | Thrd Plug | Thread Plug | 1/8-27 NPTF L1 Thrd Plug | VTG |  |  | 2025-01-03 | Annual review / 3 yr cert | 2027-02-01 |  |  | record and cert | OK |  | Hand Gages Master Entry | Y
54 | B135 | B | February | 135 | Thrd Plug | Thread Plug | 1 1/2 - 11 NPT Thrd Plug - Tapered | Thread Check |  |  | 2024-07-01 | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
55 | B142 | B | February | 142 | Hole Micrometer | Dial/Digital | 0.700 - 0.800 ID Vern Mics | Brown & Sharpe | 281 |  | 2025-02-17 | Annual review | 2027-02-01 |  |  | Cleaned, labeled | OK |  | Hand Gages Master Entry | Y
56 | B143 | B | February | 143 | Hole Micrometer | Dial/Digital | 0.275 - 0.3500 ID Vern Mics | SPI |  |  | 2025-02-17 | Annual review | 2027-02-01 |  |  | Cleaned, labeled | OK |  | Hand Gages Master Entry | Y
57 | B144 | B | February | 144 | Calipers | Dial/Digital | 0 - 6.000" Digital Calipers | SPI | 31-166-2 | AS21071011 | 2025-02-10 | Annual review | 2027-02-01 |  |  | New - Bought for use as shop "loaner" sign-out items. | OK |  | Hand Gages Master Entry | Y
58 | B145 | B | February | 145 | Calipers | Dial/Digital | 0 - 6.000" Digital Calipers | SPI | 31-166-2 | AS21071015 | 2025-02-10 | Annual review | 2027-02-01 |  |  | New - Bought for use as shop "loaner" sign-out items. | OK |  | Hand Gages Master Entry | Y
59 | B146 | B | February | 146 | Rule | Unclassified | 0 - 48", 0-120 cm | Insize | 7110-1200 |  | 2025-02-10 | Annual review | 2027-02-01 |  |  | examine for wear every year | OK |  | Hand Gages Master Entry | Y
60 | B147 | B | February | 147 | Chamfer Gage | Unclassified | 90-127 degree Chamfer Gage | Brencore Chamfer Check |  |  | 2025-02-10 | Annual review | 2027-02-01 |  |  | new | OK |  | Hand Gages Master Entry | Y
61 | B148 | B | February | 148 | Calipers | Dial/Digital | 0 - 8.0000" Digital Calipers | Mitutoyo | Code: 500-197-30 Model CD-8 | B17433041 | 2025-02-10 | Annual review | 2027-02-01 |  |  | New - bought to replace QA lab calipers that are worn, need repair. | OK |  | Hand Gages Master Entry | Y
62 | B149 | B | February | 149 | Calipers | Dial/Digital | 0 - 8.0000" Digital Calipers | Mitutoyo | Code: 500-197-30 Model CD-8 | B17433052 | 2025-02-10 | Annual review | 2027-02-01 |  |  | New - bought to replace QA lab calipers that are worn, need repair. | OK |  | Hand Gages Master Entry | Y
63 | B150 | B | February | 150 | Caliper, Groove | Dial/Digital | 1.000 - 7.000 ID Groove Calipers | Insize | 1120-150 | 1910241766 | 2025-02-27 | Annual review | 2027-02-01 |  |  | NEW February 2025 | OK |  | Hand Gages Master Entry | Y
64 | B151 | B | February | 151 | Thrd Plug | Thread Plug | 1/8 - 27 NPSM-2B Thrd Plug | Vermont Gage | 421102530 | J000760828 | 2025-02-27 | Annual review / 3 yr cert | 2027-02-01 |  |  | New, from MSC Feb 2025 | OK |  | Hand Gages Master Entry | Y
65 | C4 | C | March | 4 | Thrd Ring | Thread Ring | (SM:0-2" / 0-50.8MM6-32 UNC-2A GO |  |  |  | 2025-06-30 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
66 | C5 | C | March | 5 | Thrd Ring | Thread Ring | (SM:0-2" / 0-50.8MM 6-32 UNC-2A NOGO |  |  |  | 2025-06-30 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
67 | C78 | C | March | 78 | Thrd ring | Thread Ring | M10 x 1.5-6g Thrd Ring GO | VTG |  | 929277 | 2024-11-08 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
68 | C79 | C | March | 79 | Thrd ring | Thread Ring | M10 x 1.5-6g Thrd Ring NO GO | VTG |  | 936580 | 2024-11-08 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
69 | C83 | C | March | 83 | Thrd Plug | Thread Plug | M3 x 0.5-6H Thrd Plug - dbl | J&L |  |  | 2025-02-24 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
70 | C84 | C | March | 84 | Thrd Plug | Thread Plug | M5 x 0.8-6h Thrd Plug - dbl | Vermont |  |  | 2025-03-27 | Annual review / 3 yr cert | 2027-03-01 |  |  | Replaced "GO" end with new member & added cert to folder | OK |  | Hand Gages Master Entry | Y
71 | C86 | C | March | 86 | Thrd Plug | Thread Plug | 3/4 - 20 UNEF 2B Thrd Plug - Dbl | Work Plug |  |  | 2025-07-01 | Annual review / 3 yr cert | 2027-03-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
72 | C89 | C | March | 89 | Thrd Ring | Thread Ring | 1/2 - 13 UNC 3A Thrd Ring - GO | VTG GO pd 0.4500 |  |  | 2025-02-24 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
73 | C93 | C | March | 93 | Thrd Plug | Thread Plug | 1 - 12 UNF-2B Thrd Plug - Dbl | Work Plug |  |  | 2025-07-01 | Annual review / 3 yr cert | 2027-03-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
74 | C102 | C | March | 102 | Thrd plug | Thread Plug | 3/8-18 NPTF Thrd Plug - dbl | Greenfield |  |  | 2024-11-08 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
75 | C106 | C | March | 106 | Thrd ring | Thread Ring | 1/2-20 UNF 3A Thrd Ring GO | J & L |  | 51531 | 2024-11-08 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
76 | C115 | C | March | 115 | Thrd Plug | Thread Plug | 3/8-32 UNEF-2B Thrd Plug | Vermont |  |  | 2025-01-03 | Annual review / 3 yr cert | 2027-03-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
77 | C120 | C | March | 120 | Thrd Ring | Thread Ring | 3/8 - 16 UNC 2A Thrd Ring - GO | VTG |  | 1833384 | 2025-02-24 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
78 | C121 | C | March | 121 | Thrd Ring | Thread Ring | 3/8-16 NO Go Ring | Vermont Tool & Gage |  |  | 2025-10-01 | Annual review / 3 yr cert | 2027-03-01 | 478989-309194 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
79 | C126 | C | March | 126 | CMM | Unclassified | CMM | Zeiss | Duramax | S/N 142142 | 2025-08-08 | Annual review | 2027-03-01 |  |  | Nick Alonso | OK |  | Hand Gages Master Entry | Y
80 | C128 | C | March | 128 | Thrd Ring | Thread Ring | 3/4-14 BSPP Thrd Ring |  |  |  | 2025-01-06 | Annual review / 3 yr cert | 2027-03-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
81 | C129 | C | March | 129 | Thrd Ring | Thread Ring | 1.000-17 UNS-2A Thrd Ring - GO |  |  | 1A46 | 2025-03-28 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
82 | C130 | C | March | 130 | Thrd Ring | Thread Plug | 3/4 - 14 NPT Taper Thrd Plug | Greenfield - |  |  | 2025-05-30 | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
83 | C132 | C | March | 132 | Micrometer | Dial/Digital | 0.350- 0.4252 ID Vern Micw | SPI |  |  | 2025-03-28 | Annual review | 2027-03-01 |  |  | great shape | OK |  | Hand Gages Master Entry | Y
84 | C135 | C | March | 135 | Hole micrometer | Dial/Digital | 1.0000 - 1.20000" Vern ID Mics Holetest | Mitutoyo | 368-267 | 42529 | 2025-06-13 | Annual review | 2027-03-01 |  |  | NEW 3/5/24 - dropped, repaired, back in service 6/13/24 | OK |  | Hand Gages Master Entry | Y
85 | C136 | C | March | 136 | Thrd Plug | Thread Plug | M18 x 1.5 - 6H Thrd Plug - dbl | Vermont Gage | 302142030 | J000796321 | 2025-03-03 | Annual review / 3 yr cert | 2027-03-01 |  |  | New, from MSC Mar 2025 | OK |  | Hand Gages Master Entry | Y
86 | C137 | C | March | 137 | Thrd Ring | Thread Ring | 2 - 11 1/2 NPT L1 Tapered Thrd Ring | SPI |  |  |  | Annual review / 3 yr cert | 2027-03-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
87 | C137 | C | March | 137 | Thrd Ring | Thread Ring | 2 - 11 1/2 NPT L1 Thrd Ring Gage |  |  |  |  | Annual review / 3 yr cert | 2027-03-01 |  |  | given gage #'s 3-21-25 | OK |  | Hand Gages Master Entry | Y
88 | C138 | C | March | 138 | Thrd Plug | Thread Plug | 5/16 - 18 UNC-2B Thrd Plug - dbl | Thread Check |  |  | 2025-03-27 | Annual review / 3 yr cert | 2027-03-01 |  |  | Replaced "GO" end with new member & added cert to folder | OK |  | Hand Gages Master Entry | Y
89 | C138 | C | March | 138 | Thrd Plug | Thread Plug | 5/16 - 18 UNC-2B LH dbl thrd plug |  |  |  |  | Annual review / 3 yr cert | 2027-03-01 |  |  | given gage #'s 3-21-25 | OK |  | Hand Gages Master Entry | Y
90 | D4 | D | April | 4 | Thrd Plug | Thread Plug | 1/2 - 14 NPTF L1 Tapered Thrd Plg | Interstate |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
91 | D5 | D | April | 5 | Thrd Ring | Thread Ring | M12 x 1.75-6g Thrd Ring - NOGO |  |  | 1014504 | 2025-03-28 | Annual review / 3 yr cert | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
92 | D7 | D | April | 7 | Thrd Ring | Thread Ring | M12 x 1.75-6g Thrd Ring - GO | VTG |  | 1014972 | 2025-03-28 | Annual review / 3 yr cert | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
93 | D9 | D | April | 9 | Thrd Plug | Thread Plug | 1 1/8 - 16 UN 2B Thrd Plug - Dbl | Vermont |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-04-01 |  |  | 7/25 - low use - coating intact -extended 3 years | DUE SOON |  | Hand Gages Master Entry | Y
94 | D14 | D | April | 14 | Weight Scale | Unclassified | Scale - Bench | Tree | LCT-li | LC1801132 | 2025-01-21 | Annual review | 2026-04-01 |  |  | PO 96685 - note that body cover is worn, but scale works fine. 1/25 | DUE SOON |  | Hand Gages Master Entry | Y
95 | D20 | D | April | 20 | Thrd Plug | Thread Plug | 9/16 - 16 UNF 2B Thrd Plg - dbl | Greenfield |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
96 | D22 | D | April | 22 | Micrometer | Dial/Digital | 0 - 1" OD MICS DIGITAL MITUTOY QUANTUM MICS | Mitutoyo | 293-185-30 | 67409898 | 2025-04-30 | Annual review | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
97 | D26 | D | April | 26 | Thrd Ring | Thread Ring | 3/8-24 UNF-2A Thrd Ring - GO | J & L |  | 22701 | 2025-01-03 | Annual review / 3 yr cert | 2026-04-01 |  |  | record and cert fdh | DUE SOON |  | Hand Gages Master Entry | Y
98 | D27 | D | April | 27 | Thrd Ring | Thread Ring | 3/8-24 UNF-2A Thrd Ring - NOGO | SWANSON |  |  | 2025-01-03 | Annual review / 3 yr cert | 2026-04-01 |  |  | record and cert fdh | DUE SOON |  | Hand Gages Master Entry | Y
99 | D32 | D | April | 32 | Thrd Ring | Thread Ring | 3/8 - 16 UNC 2A Thrd Ring - NOGO | Interstate |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
100 | D33 | D | April | 33 | Thrd Ring | Thread Ring | M10 x 1.5-6G Go Ring | Vermont Tool & Gage |  | 879811 | 2025-10-01 | Annual review / 3 yr cert | 2026-04-01 | 478989-702747 | In Tolerance |  | DUE SOON |  | Hand Gages Master Entry | Y
101 | D34 | D | April | 34 | Thrd Ring | Thread Ring | M10 x 1.5-6G NoGo Ring | Vermont Tool & Gage |  |  | 2025-10-01 | Annual review / 3 yr cert | 2026-04-01 | 478989-702740 | In Tolerance |  | DUE SOON |  | Hand Gages Master Entry | Y
102 | D36 | D | April | 36 | Thrd Plug | Thread Plug | M12 x 1.75 - 6H Thrd Plug - dbl | Vermont Gage |  |  | 2025-03-27 | Annual review / 3 yr cert | 2026-04-01 |  |  | Replaced "GO" end with new member & added cert to folder | DUE SOON |  | Hand Gages Master Entry | Y
103 | D36 | D | April | 36 | Thrd Plug | Thread Plug | M12 X 1.75-6H | Vermont |  |  | 2022-04-13 | Annual review / 3 yr cert | 2026-04-01 |  |  | Issued 3 yr label May 2024 | DUE SOON |  | Hand Gages Master Entry | Y
104 | D38 | D | April | 38 | Gage Pins | Unclassified | 0.501 - 0.625 Gage Pins - Plus | Vermont |  |  | 2025-02-18 | Annual review | 2026-04-01 |  |  | Initial Entry - time sync | DUE SOON |  | Hand Gages Master Entry | Y
105 | D113 | D | April | 113 | Weight Scale | Unclassified | Scale - Bench | Mettler Toledo | BBA442 | 3237511-7GN | 2025-01-21 | Annual review | 2026-04-01 |  |  | Cross formerly JA King | DUE SOON |  | Hand Gages Master Entry | Y
106 | D115 | D | April | 115 | Hole Micrometer | Dial/Digital | 0-1.000" ID Vern Mics | Mitutoyo | 103-105 |  | 2025-04-11 | Annual review | 2026-04-01 |  |  | On 8/15/24 Changed calibration due to April to sync to "D" | DUE SOON |  | Hand Gages Master Entry | Y
107 | D190 | D | April | 190 | Thrd Ring | Thread Ring | 1 1/16 - UN-2A Thrd Ring - GO | VTG |  |  | 2024-07-01 | Annual review / 3 yr cert | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
108 | D192 | D | April | 192 | Thrd Ring | Thread Ring | 1/2-20 UNF 2A GO | VTG |  | 1777858 | 2024-04-25 | Annual review / 3 yr cert | 2026-04-01 |  |  | PO 93379 | DUE SOON |  | Hand Gages Master Entry | Y
109 | D193 | D | April | 193 | Thrd Ring | Thread Ring | 1/2-20 UNF 2A NO GO | VTG |  | 1763194 | 2024-04-25 | Annual review / 3 yr cert | 2026-04-01 |  |  | PO 93379 | DUE SOON |  | Hand Gages Master Entry | Y
110 | D196 | D | April | 196 | Thrd Plug | Thread Plug | 3 - 8 NPT L1 Thrd Plug | Single NPT |  |  | 2024-04-01 | Annual review / 3 yr cert | 2026-04-01 |  |  | Removed from service 4/1/23 Do not use - calib before use. | DUE SOON |  | Hand Gages Master Entry | Y
111 | D197 | D | April | 197 | Thrd Ring | Thread Ring | M39 x 1.5-6g GO |  |  |  | 2024-04-26 | Annual review / 3 yr cert | 2026-04-01 |  |  | PO 93379 | DUE SOON |  | Hand Gages Master Entry | Y
112 | D198 | D | April | 198 | Thrd Ring | Thread Ring | M39 x 1.5-6g NO GO |  |  |  | 2024-04-26 | Annual review / 3 yr cert | 2026-04-01 |  |  | PO 93379 | DUE SOON |  | Hand Gages Master Entry | Y
113 | D199 | D | April | 199 | Thrd Ring | Thread Ring | M42 x 1.5-6g GO |  |  |  | 2024-04-26 | Annual review / 3 yr cert | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
114 | D200 | D | April | 200 | Thrd Ring | Thread Ring | M42 x 1.5-6g NO GO |  |  |  | 2024-04-26 | Annual review / 3 yr cert | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
115 | D209 | D | April | 209 | Gage Pins | Unclassified | 0.999 minus & 1.000 plus gage ppins | Vermont |  |  | 2025-02-19 | Annual review | 2026-04-01 |  |  | re-activated from storage. Holder worn, pins good. | DUE SOON |  | Hand Gages Master Entry | Y
116 | D213 | D | April | 213 | Thrd Plug | Thread Plug | 3/8-18 NPSM-2B Thrd Plug | PMC |  |  | 2025-01-03 | Annual review / 3 yr cert | 2026-04-01 |  |  | record and cert - fdh | DUE SOON |  | Hand Gages Master Entry | Y
117 | D214 | D | April | 214 | Thrd Plug | Thread Plug | 1 - 11 1/2 NPSM Thrd Plug-SNGL |  |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-04-01 |  |  | 7/25 - low use - coating intact -extended 3 years note: step, add .098 to depth. | DUE SOON |  | Hand Gages Master Entry | Y
118 | D217 | D | April | 217 | Thrd Ring | Thread Ring | M8 x 1.0 | SMW made Thrd Ring - GO |  |  | 2022-05-15 | Annual review / 3 yr cert | 2026-04-01 |  |  | re-labeled to 3 yr 9/5/24 | DUE SOON |  | Hand Gages Master Entry | Y
119 | D218 | D | April | 218 | Thrd Ring | Thread Ring | M8 x 1.0 | SMW made Thrd Ring - GO |  |  | 2022-05-15 | Annual review / 3 yr cert | 2026-04-01 |  |  | re-labeled to 3 yr 9/5/24 | DUE SOON |  | Hand Gages Master Entry | Y
120 | D223 | D | April | 223 | Micrometer | Dial/Digital | 3.0000 - 4.0000 Vern Blade Mics | Mitutoyo | 122-128 | 65158145 | 2025-04-30 | Annual review | 2026-04-01 |  |  |  | DUE SOON |  | Hand Gages Master Entry | Y
121 | D224 | D | April | 224 | Caliper | Dial/Digital | 0- 8.000" Caliper | Tesa | 5.302 | 384401 | 2025-04-30 | Annual review | 2026-04-01 |  |  | Employee Owned - Ship/Rec | DUE SOON |  | Hand Gages Master Entry | Y
122 | E2 | E | May | 2 | Tape | Unclassified | 0-10' Tape Measure | Lufkin In/mm |  |  | 2024-05-15 | Annual review | 2026-05-01 |  |  | Cleaned | OK |  | Hand Gages Master Entry | Y
123 | E6 | E | May | 6 | Thrd Ring | Thread Ring | (0-3" / 0-75MM) 3/4 - 16 UNF-2B |  |  |  | 2025-07-07 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
124 | E7 | E | May | 7 | Thrd Plug | Thread Plug | 3/4 - 14 BSPP (MOD) Thrd Plug | Micron |  |  | 2024-07-03 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
125 | E8 | E | May | 8 | Tape | Unclassified | 0-10' Tape Measure | Lufkin In/mm |  |  | 2024-05-15 | Annual review | 2026-05-01 |  |  | LOST - as of June 10, 2024 | OK |  | Hand Gages Master Entry | Y
126 | E15 | E | May | 15 | Thrd Ring | Thread Ring | 5/8 - 18 UNF-2A Thrd Ring - GO |  | PAIR G7006 - with E16 |  | 2025-05-30 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
127 | E16 | E | May | 16 | Thrd Ring | Thread Ring | 5/8 - 18 UNF-2A Thrd Ring - NO GO |  | PAIR G7006 - with E15 |  | 2025-07-07 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
128 | E18 | E | May | 18 | Gage Pins | Unclassified | 0.626 - 0.750 Gage Pins - Minus | Vermont |  |  | 2025-05-23 | Annual review | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
129 | E30 | E | May | 30 | Thrd Ring | Thread Ring | 1/2 - 13 UNC-2A Thrd Ring - NOGO | US Gage |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
130 | E35 | E | May | 35 | Thrd Plug | Thread Plug | M4 x 0.7 - 6H Thrd Plg - dbl | GF Gage |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
131 | E38 | E | May | 38 | thrd ring | Thread Ring | 1/4-28 NF Thrd Ring - GO | Greenfield - ADJ |  |  | 2025-01-06 | Annual review / 3 yr cert | 2026-05-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
132 | E45 | E | May | 45 | Hole MIcrometer | Dial/Digital | .500-.650" Borematic | Mitutoyo | Borematic | 8083 | last calibrated 5/2020 | Annual review | 2026-05-01 |  |  | Removed from service 2/7/24 broken, does not work. | OK |  | Hand Gages Master Entry | Y
133 | E46 | E | May | 46 | Thrd Plug | Thread Plug | 5/16 - 18 UNC-2b Thrd Plug - dbl | Vermont |  |  | 2023-05-15 | Annual review / 3 yr cert | 2026-05-01 |  |  | re-stickered, put on spreadsheet 5/30/25 | OK |  | Hand Gages Master Entry | Y
134 | E52 | E | May | 52 | Thrd Ring | Thread Ring | 1 1/8 - 20 UN-2A Thrd Ring - GO |  |  |  | 2025-07-07 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
135 | E53 | E | May | 53 | Thrd Ring | Thread Ring | 1 1/8 - 20 UN-2A Thrd Ring - NO GO | Thread Check |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
136 | E55 | E | May | 55 | Micrometer | Dial/Digital | 8.000 - 9.000" O.D. Mics | Brown & Sharpe |  |  | 2025-05-30 | Annual review | 2026-05-01 |  |  | infreq use | OK |  | Hand Gages Master Entry | Y
137 | E57 | E | May | 57 | Hole MIcrometer | Dial/Digital | 1.600-2.000" ID Vern Mics |  |  | None found | 2025-05-23 | Annual review | 2026-05-01 |  |  | Worn but accurate | OK |  | Hand Gages Master Entry | Y
138 | E58 | E | May | 58 | Hole MIcrometer | Dial/Digital | 1.0001 - 1.2002" ID Vern Mics | TESA |  |  | 2024-06-24 | Annual review | 2026-05-01 |  |  | Removed from Service 6/24/25 darn things bind up. They have served us long and well. | OK |  | Hand Gages Master Entry | Y
139 | E59 | E | May | 59 | Micrometer | Dial/Digital | 1.0000" - 2.0000" OD mics | .00005" Mitutoy Digital | 293-331 | 5168323 | 2025-05-20 | Annual review | 2026-05-01 |  |  | Worn, ratchet spindle bent but fully functional consider for replacement 5/25 | OK |  | Hand Gages Master Entry | Y
140 | E61 | E | May | 61 | Thrd Ring | Thread Ring | 1 1/16 - UN-2A Thrd Ring - NOGO | Thread Check |  |  | 2024-07-01 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
141 | E62 | E | May | 62 | Micrometer | Dial/Digital | 4.0000 - 5.0000 OD Blade Mics | Scherr Tumico |  |  | 2025-05-30 | Annual review | 2026-05-01 |  |  | Note - small chip out of carbide on stationary blade - OK to use. Cleaned, labeled. | OK |  | Hand Gages Master Entry | Y
142 | E63 | E | May | 63 | THREAD RING | Thread Ring | (0-2" / 0-50.8mm) 1.5-11.5 NPSH GO |  |  |  | 2025-07-07 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
143 | E64 | E | May | 64 | Thrd Ring | Thread Ring | (SM: 0-2" / 0-50.8MM) 1.5 - 11.5 NPSH NOGO |  |  |  | 2025-07-07 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
144 | E66 | E | May | 66 | Thrd ring | Thread Ring | 1 1/4-20 UN-2A Thrd Ring GO | VTG |  | 2375454 | 2024-11-08 | Annual review / 3 yr cert | 2026-05-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
145 | E91 | E | May | 91 | Thrd Ring | Thread Ring | #1 - 72 UNF-2A Thrd Ring - GO | Vermont |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-05-01 |  |  | extended internally 2025 - limited use | OK |  | Hand Gages Master Entry | Y
146 | E92 | E | May | 92 | Thrd Ring | Thread Ring | #1 - 72 UNF-2A Thrd Ring - NO GO | Vermont |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-05-01 |  |  | extended internally 2025 - limited use | OK |  | Hand Gages Master Entry | Y
147 | E97 | E | May | 97 | Caliper | Dial/Digital | 0 - 8.000" | Mitutoyo | 500-197-30 | B17548706 | 2025-05-20 | Annual review | 2026-05-01 |  |  | Annual - NEW 4 LAB May '24 | OK |  | Hand Gages Master Entry | Y
148 | E98 | E | May | 98 | Calpier | Unclassified | 0 - 8.000" | Mitutoyo | 500-197-30 | B17548714 | 2025-05-20 | Annual review | 2026-05-01 |  |  | Annual - NEW 4 LAB May '24 | OK |  | Hand Gages Master Entry | Y
149 | E99 | E | May | 99 | Thrd Plug | Thread Plug | 1/4 - 18 NPSM 2B Thrd Plug - DBL | china- for ref |  |  |  | Annual review / 3 yr cert | 2026-05-01 |  |  | use for floor reference | OK |  | Hand Gages Master Entry | Y
150 | E100 | E | May | 100 | Dial Indicator | Dial/Digital | 0 - 1.000" Travel Dial Indicator | MHC - China |  | 11162 | 2025-05-01 | Annual review | 2026-05-01 |  |  | only accurate to .001. | OK |  | Hand Gages Master Entry | Y
151 | E101 | E | May | 101 | Thrd Ring | Thread Ring | M2.5 - .45 6g Thrd Ring - GO | Vermont |  | J650059 | 2025-05-28 | Annual review / 3 yr cert | 2026-05-01 |  |  | New - put in service 5/28/25 CUST 1323 A-2 Tool 21120480.11010.208 | OK |  | Hand Gages Master Entry | Y
152 | E102 | E | May | 102 | Thrd Ring | Thread Ring | M2.5 - .45 6g Thrd Ring - GO | Vermont |  | J767319 | 2025-05-28 | Annual review / 3 yr cert | 2026-05-01 |  |  | New - put in service 5/28/25 CUST 1323 A-2 Tool 21120480.11010.208 | OK |  | Hand Gages Master Entry | Y
153 | F3 | F | June | 3 | Blade Micrometer | Dial/Digital | 1.0000 - 2.0000 Blade Mics | Mitutoyo | 122-126 |  | 2025-06-26 | Annual review | 2026-06-01 |  |  | Cleaned, oiled. | OK |  | Hand Gages Master Entry | Y
154 | F5 | F | June | 5 | Blade Micrometer | Dial/Digital | 2.0000-3.000 OD Blade Mics | Mitutoyo | 122-127 | 57112161 | 2025-06-25 | Annual review | 2026-06-01 |  |  | Cleaned, labeled, record. | OK |  | Hand Gages Master Entry | Y
155 | F7 | F | June | 7 | Micrometer | Dial/Digital | 10.000 - 11.000 O.D. Mics | Starrett | 436 |  | 2025-06-25 | Annual review | 2026-06-01 |  |  | infrequent use | OK |  | Hand Gages Master Entry | Y
156 | F8 | F | June | 8 |  | Unclassified | 5.0000 - 6.0000 | Starrett | 436 | N/A | 2025-06-26 |  | 2026-06-01 |  |  | Cleaned, labeled. | OK |  | Hand Gages Master Entry | Y
157 | F13 | F | June | 13 | Micrometer | Dial/Digital | 4.000 - 5.000 OD Mics - Mech | Starrett | 436 |  | 2025-06-26 | Annual review | 2026-06-01 |  |  | Cleaned, labeled | OK |  | Hand Gages Master Entry | Y
158 | F14 | F | June | 14 | Pitch MIcrometer | Dial/Digital | 0 - 1 20 - 24 P. UN & UNJ Pitch Mics | Starrett | UN 575 |  | 2024-07-01 | Annual review | 2026-06-01 |  |  | Note July 2024 - cannot find original folder, created new one. | OK |  | Hand Gages Master Entry | Y
159 | F23 | F | June | 23 | Micrometer | Dial/Digital | 3.0000 - 4.0000" OD MICS MECH | MITUTOYO | 103-116 |  | 2025-06-26 | Annual review | 2026-06-01 |  |  | Anvil has side chips- OK to use. | OK |  | Hand Gages Master Entry | Y
160 | F26 | F | June | 26 | Micrometer | Dial/Digital | 7.000 - 8.000 OD Mics | Starrett | 436 |  | 2025-06-26 | Annual review | 2026-06-01 |  |  | infreq use | OK |  | Hand Gages Master Entry | Y
161 | F44 | F | June | 44 | Thrd Ring | Thread Ring | 5/16 -18 UNC-2A Thrd Ring - GO | Interstate 0.2752 GO |  | 88-12 | 2025-02-24 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
162 | F45 | F | June | 45 | Thrd Ring | Thread Ring | 5/16 - 18 UNC-2A Thrd Ring - NOGO | Interstate 0.2712 |  | 88-6 | 2025-02-24 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
163 | F46 | F | June | 46 | Thrd Ring | Thread Ring | 8-32 UNC-2A Thrd Ring - GO | VTG 0.1428 |  | 445389 | 2025-02-24 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
164 | F47 | F | June | 47 | Thrd Ring | Thread Ring | 8-32 UNC-2A Thrd Ring - NOGO | VTG 0.1399 |  | 467538 | 2025-02-24 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
165 | F49 | F | June | 49 | Height Stand | Dial/Digital | Height Stand | Tesa | TESA HITE 700 | 6P 0355 02 | 2024-06-24 | Annual review | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
166 | F50 | F | June | 50 | Hardness Tester | Unclassified | Hardness Tester | Wilson |  | 3JR7257 | 2024-06-24 | Annual review | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
167 | F51 | F | June | 51 | Comparator | Unclassified | Optical Comparator | Clausing |  | 420623 | 2024-06-24 | Annual review | 2026-06-01 |  |  | Note - checked, both fans working, one bulb burned out - will look for. Works fine as is. | OK |  | Hand Gages Master Entry | Y
168 | F61 | F | June | 61 | Height Stand | Dial/Digital | Height Stand | Starrett 24" | Altissimo | 11145347 | 2025-06-30 | Annual review | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
169 | F65 | F | June | 65 | Thrd Plug | Thread Plug | 1 3/8 - 16 UN 2b Thrd Plug - Dbl | Regal Premium GO pd 1.3344 NOGO 1.3410 |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-06-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
170 | F67 | F | June | 67 | Thrd Ring | Thread Ring | 3/4 - 16 UNF-2A Thrd Ring - GO | Interstate 0.7079 |  | 89-12 | 2025-02-24 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
171 | F68 | F | June | 68 | Thrd Ring | Thread Ring | 3/4 - 16 UNF-2A Thrd Ring - GO | J & L 0.7079 |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
172 | F75 | F | June | 75 | Gage pins | Unclassified | 0.251 - 0.500 Gage Pins - Plus | Vermont |  |  | 2025-05-19 | Annual review | 2026-06-01 |  |  | Missing/worn requested 5/19/25 | OK |  | Hand Gages Master Entry | Y
173 | F78 | F | June | 78 | Thrd Ring | Thread Ring | 1/2 - 14 NPT - L1 Thrd Ring Gage | SPI |  |  | 2024-05-02 | Annual review / 3 yr cert | 2026-06-01 |  |  | Too small for sticker - in baggie w card. | OK |  | Hand Gages Master Entry | Y
174 | F90 | F | June | 90 | Thrd Plug | Thread Plug | 1/2 - 13 UNC-2B Thrd Plug - dbl | Mercury Gage GO 0.4500 NG 0.45650 |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
175 | F91 | F | June | 91 | Thrd Plug | Thread Plug | M14 x 1.0-6H Plug Go/nogo |  |  |  | 2025-10-01 | Annual review / 3 yr cert | 2026-06-01 | 478989-2068041 | Fail | Failed Go end above bottom of PD tolernace but will still validate parts as conforming, so gage is approved for use. | OK | REVIEW | Hand Gages Master Entry | Y
176 | F96 | F | June | 96 | Thrd Plug | Thread Plug | 1/4-18 L-1 NPT Plug Gage | SOUTHERN GAGE CO. |  |  | 2025-09-10 | Annual review / 3 yr cert | 2026-06-01 | 476357-465126 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
177 | F97 | F | June | 97 | Caliper | Dial/Digital | 0-18.000" DIGITAL CALIPER | SHARS DIGITAL |  | I 79884 | 2024-10-15 | Annual review | 2026-06-01 |  |  | Worn - cleaned | OK |  | Hand Gages Master Entry | Y
178 | F101 | F | June | 101 | Thrd Ring | Thread Ring | M42 x 4.5-6G Thrd Ring - GO |  |  |  | 2024-07-03 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
179 | F102 | F | June | 102 | Thrd Ring | Thread Ring | M42 x 4.5-6G Thrd Ring - NOGO |  |  |  | 2024-07-03 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
180 | F105 | F | June | 105 | Thrd ring | Thread Ring | M14 x 1-6G Go Ring |  |  |  | 2025-10-01 | Annual review / 3 yr cert | 2026-06-01 | 478989-2068148 | Fail |  | OK | REVIEW | Hand Gages Master Entry | Y
181 | F106 | F | June | 106 | Thrd ring | Thread Ring | M14 x 1-6G NoGo Ring |  |  |  | 2025-10-01 | Annual review / 3 yr cert | 2026-06-01 | 478989-2068149 | In Tolerance | Failed NoGo ring is larger than the tolernace but will still validate parts as conforming, so gage is approved for use. | OK |  | Hand Gages Master Entry | Y
182 | F110 | F | June | 110 | Thrd Ring | Thread Ring | 1 - 11 1/12 NPSM - 2A Thrd Ring - GO | vtg - adj |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-06-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
183 | F111 | F | June | 111 | Thrd Plug | Thread Plug | M30X1.5-6H GO/NOGO PLUG | VERMONT GAGE |  |  | 2025-09-10 | Annual review / 3 yr cert | 2026-06-01 | 476357-711584 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
184 | F112 | F | June | 112 | Thrd Plug | Thread Plug | M14X1 -6H GO/NOGO PLUG | thread Check |  |  | 2021-06-30 | Annual review / 3 yr cert | 2026-06-01 |  |  | Not used in 3 year cycle, recalibrate one year after Used (wax is removed). Jay B 9/15/25 | OK |  | Hand Gages Master Entry | Y
185 | F120 | F | June | 120 | Pitch Micrometer | Dial/Digital | 0 - 1 in 28 - 30 P. Pitch Mics | Starrett |  |  | 2024-07-01 | Annual review | 2026-06-01 |  |  | Comment in folder that this gage used to be B120, changed to F120 | OK |  | Hand Gages Master Entry | Y
186 | F121 | F | June | 121 | Thrd Plug | Thread Plug | 1 7/8-12 NS-3 Thrd Plug Dbl | Regal |  |  | 2024-04-26 | Annual review / 3 yr cert | 2026-06-01 |  |  | Engraved | OK |  | Hand Gages Master Entry | Y
187 | F122 | F | June | 122 | Thrd Ring | Thread Ring | (0-3" / 0-75MM)1 5/16 - 12 NS |  |  |  | 2025-07-07 | Annual review / 3 yr cert | 2026-06-01 |  |  | *CHANGED ITEM ID#* WAS I22, NOW F122 | OK |  | Hand Gages Master Entry | Y
188 | F124 | F | June | 124 | Thrd Plug | Thread Plug | 3/8-20 UN-2B Thrd Plg - dbl Go/No Go |  |  |  | 2025-01-03 | Annual review / 3 yr cert | 2026-06-01 |  |  | cert & first record | OK |  | Hand Gages Master Entry | Y
189 | F126 | F | June | 126 | Calipers | Dial/Digital | 0 - 18" dig calipers CLOVER | no brand |  | S/N 21030030 | 2025-04-10 | Annual review | 2026-06-01 |  |  | 4/10/25 - Had been in storage??Cleaned and calibrated, file entry. | OK |  | Hand Gages Master Entry | Y
190 | F128 | F | June | 128 | Hole MIcrometer | Dial/Digital | 0.2 - 1.2" Pin Mics "ring" mics | Mitutoyo - vernier | 145-193 | S/N 027254 | 2025-06-26 | Annual review | 2026-06-01 |  |  | In small black case. | OK |  | Hand Gages Master Entry | Y
191 | F129 | F | June | 129 | Caliper | Dial/Digital | 0 - 8.000" Dial Calipers | Starrett Dial | No. 3202 | C19412381 | 2025-06-18 | Annual review | 2026-06-01 |  |  | Employee Owned - Turn Mach | OK |  | Hand Gages Master Entry | Y
192 | F130 | F | June | 130 | Caliper | Dial/Digital | 0 - 6.000 OD Dig Calipers | Husky Digital |  |  | 2025-06-13 | Annual review | 2026-06-01 |  |  | Initial Entry 6-12-24 Cleaned- Pan Screw Stem Missing | OK |  | Hand Gages Master Entry | Y
193 | F131 | F | June | 131 | Caliper | Dial/Digital | 0 - 6.000 OD Dig Calipers | Quinn Digital | Label 57460 | 193175412133 | 2025-06-16 | Annual review | 2026-06-01 |  |  | Initial Entry 6-12-24 | OK |  | Hand Gages Master Entry | Y
194 | F132 | F | June | 132 | Caliper | Dial/Digital | 0 - 24.0000" OD Dig Calipers | Fowler |  | S/N 211020158 | 2025-06-12 | Annual review | 2026-06-01 |  |  | Formerly L219 from 2022 Like new condition. Cleaned, changed battery. | OK |  | Hand Gages Master Entry | Y
195 | F133 | F | June | 133 | tape | Unclassified | 0 - 26' / 8m Tape Measure | Stanley | Fat Max # FMHT33826 |  | 2025-06-13 | Annual review | 2026-06-01 |  |  | Good cond. Cleaned, engraved and labeled. | OK |  | Hand Gages Master Entry | Y
196 | F134 | F | June | 134 | Thrd Plug | Thread Plug | 3/8 - 16 UNC 2B STI (heli-coil) Thrd Plug - Dbl |  |  |  | 2024-07-03 | Annual review / 3 yr cert | 2026-06-01 |  |  | New Item | OK |  | Hand Gages Master Entry | Y
197 | F135 | F | June | 135 | Thrd Plug | Thread Plug | 1/4 - 18 NPSM 2B Thrd Plug - DBL | Green Handle GO PD .4946" NG PD .4974" |  |  | 2024-07-03 | Annual review / 3 yr cert | 2026-06-01 |  |  | New Item | OK |  | Hand Gages Master Entry | Y
198 | F136 | F | June | 136 | Thrd Plug | Thread Plug | 6-32 UNC-2B Thrd Plug - dbl | SPI |  | GO - PXM20750 NG-PXF1517 | 2025-06-10 | Annual review / 3 yr cert | 2026-06-01 |  |  | NEW 6/10/25 | OK |  | Hand Gages Master Entry | Y
199 | F137 | F | June | 137 | Thrd Ring | Thread Ring | 4" - 8 NPT Thrd Ring | VTG |  | J811413 | 2025-06-19 | Annual review / 3 yr cert | 2026-06-01 |  |  | new 6/19/25 | OK |  | Hand Gages Master Entry | Y
200 | F138 | F | June | 138 | Thrd Ring | Thread Ring | (SM:0-2" / 0-50.8MMM18 X 1.5 GO |  |  |  | 2025-06-30 | Annual review / 3 yr cert | 2026-06-01 |  |  | Failed +.015mm but given conditional approval by JB. | OK |  | Hand Gages Master Entry | Y
201 | F139 | F | June | 139 | Thrd Ring | Thread Ring | (SM:0-2" / 0-50.8MMM18 X 1.5 NOGO |  |  |  | 2025-06-30 | Annual review / 3 yr cert | 2026-06-01 |  |  | approved. | OK |  | Hand Gages Master Entry | Y
202 | G1 | G | July | 1 | Thrd Plug | Thread Plug | 3/4 - 16 UNF-2B Thrd Plug - dbl | Greenfield GO pd 0.70940 NG pd 0.71430 |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
203 | G2 | G | July | 2 | Thrd Plug | Thread Plug | 5/8 - 18 UNF-2B Thrd Plug - dbl |  |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-07-01 |  |  | lead go front slightly under from wear - OK for use as is. PM | OK |  | Hand Gages Master Entry | Y
204 | G3 | G | July | 3 | Thrd Plug | Thread Plug | 3/4 - 16 UNF-2B Thrd Plug - dbl | Widell GO pd 0.70940 NG pd 0.7159 |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
205 | G4 | G | July | 4 | Thrd Plug | Thread Plug | 7/8-14 UNF-3B GO/NO GO Thrd Plg - dbl | Regal Premium |  |  | 2025-01-03 | Annual review / 3 yr cert | 2026-07-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
206 | G5 | G | July | 5 | Thrd Plug | Thread Plug | 3/4 - 16 UNF-2B Thrd Plug - dbl | Greenfield |  |  | 2025-03-27 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
207 | G7 | G | July | 7 | Thrd Plug | Thread Plug | 5/8 - 24 UNEF-2B Thrd Plug - Dbl | Greenfield GO pd 0.5979 NOGO pd 0.6031 |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-07-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
208 | G8 | G | July | 8 | Thrd Plug | Thread Plug | 7/8 - 9 UNC-2B Thrd Plug - dbl | VK GO pd 0.80280 NG 0.81100 |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
209 | G10 | G | July | 10 | THRD PLUG | Thread Plug | G1" AKA 1"-11 BSPP GO/NO GO MODIFIED | Micron |  |  | 2025-10-30 | Annual review / 3 yr cert | 2026-07-01 | 481960-740459 | ROV |  | OK | REVIEW | Hand Gages Master Entry | Y
210 | G12 | G | July | 12 | THRD PLUG | Thread Plug | 1"11- 1/2 NPTF L1 TAPERED THRED | J&L |  | 14077 | 2025-10-30 | Annual review / 3 yr cert | 2026-07-01 | 481960-740451 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
211 | G13 | G | July | 13 | Thrd Plug | Thread Plug | chips |  |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
212 | G14 | G | July | 14 | Thrd Plug | Thread Plug | M32 x 1.5 -6H Thrd Plug - Dbl | Mercury Gage GO pd 31.026 NG 31.226 |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-07-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
213 | G22 | G | July | 22 | Thrd Plug | Thread Plug | 2-11 1/2 NPT-L1 Thrd Plug - Taper |  |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-07-01 |  |  | Used on elbows regularly | OK |  | Hand Gages Master Entry | Y
214 | G23 | G | July | 23 | Thrd Plug | Thread Plug | 3/8-24 UNF-2B GO/NO GO Thrd Plg-dbl | J & L |  |  | 2025-01-03 | Annual review / 3 yr cert | 2026-07-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
215 | G30 | G | July | 30 | Thrd Plug | Thread Plug | M8 X 1.25-6H | Greenfield |  | Greenfield | 2025-06-30 | Annual review / 3 yr cert | 2026-07-01 |  |  | Issued 3 yr label May 2024 | OK |  | Hand Gages Master Entry | Y
216 | G32 | G | July | 32 | Thrd Plug | Thread Plug | 1/8-27 NPSM 2B Thrd Plg-dbl | Vermont |  | GO-J741122 | 2025-01-03 | Annual review / 3 yr cert | 2026-07-01 |  |  | Note: "Go" end was worn at time of Jan '25 calibration - replaced with new item. | OK |  | Hand Gages Master Entry | Y
217 | G33 | G | July | 33 | THRD PLUG | Thread Plug | M2 X .4 6H Go/Nogo Thread Plug | Vermont Gage |  |  | 2025-10-31 | Annual review / 3 yr cert | 2026-07-01 | 481960-748296 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
218 | G41 | G | July | 41 | THRD PLUG | Thread Plug | 3/4-10 2B .015 OVERSIZED GO/NO GO | Vermont Tool & Gage |  |  | 2025-10-30 | Annual review / 3 yr cert | 2026-07-01 | 481960-678569 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
219 | G48 | G | July | 48 | Micrometer | Dial/Digital | 6.0000 - 7.0000 OD Mics-Mech | N/A |  | 101255607 | 2024-07-16 | Annual review | 2026-07-01 |  |  | Cleaned, adjusted, labeled | OK |  | Hand Gages Master Entry | Y
220 | G49 | G | July | 49 | Thrd Ring | Thread Ring | 1 1/2 - 20 UN-2A Thrd Ring - NOGO | Vermont Gage NG pd 1.4613 |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
221 | G50 | G | July | 50 | Thrd Ring | Thread Ring | 1 1/2 - 20 UN-2A Thrd Ring - GO | Vermont Gage GO pd 1.4661 |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
222 | G52 | G | July | 52 | Thrd Plug | Thread Plug | 1/2-20 UNF-3B Thrd Plug - dbl GO PD 0.4685 Oversize Pitch NG PD 0.4727 | Thread Check |  |  | 2024-11-08 | Annual review / 3 yr cert | 2026-07-01 |  |  | OVERSIZE PITCH | OK |  | Hand Gages Master Entry | Y
223 | G61 | G | July | 61 | THRD RING | Thread Ring | 3"-8 NPT L1 RING GAGE |  | TRG-6 |  | 2022-08-09 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
224 | G62 | G | July | 62 | THRD PLUG | Thread Plug | M6-6H LH GO/NO GO PLUG |  |  |  | 2025-10-30 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
225 | G63 | G | July | 63 | Thrd Plug | Thread Plug | M62 x 1.0-6H Thrd Plug Dbl | Thread Check |  |  | 2025-09-10 | Annual review / 3 yr cert | 2026-07-01 | 476357-2047373 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
226 | G64 | G | July | 64 | Thrd Plug | Thread Plug | M8 x 1.25-6H PLUG GO/NOGO | SPI |  |  | 2025-10-01 | Annual review / 3 yr cert | 2026-07-01 | 478989-2068043 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
227 | G66 | G | July | 66 | Thrd Plug | Thread Plug | M10 x 1.5P-6H Go/no go Plug | SPI |  |  | 2025-10-01 | Annual review / 3 yr cert | 2026-07-01 | 478989-2068040 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
228 | G68 | G | July | 68 | THRD RING | Thread Ring | M66 X 1.5 6G GO RING | THREAD CHECK |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  | STORED WITHOUT CALIBRATION, CUSTOMER PROVIDED NEW GAGE. ONLY RECALIBRATE IF DEMAND REQUIRES. Jay B 9/15/25 | OK |  | Hand Gages Master Entry | Y
229 | G69 | G | July | 69 | THRD RING | Thread Ring | M66 X 1.5 6G NOGO RING | THREAD CHECK |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  | STORED WITHOUT CALIBRATION, CUSTOMER PROVIDED NEW GAGE. ONLY RECALIBRATE IF DEMAND REQUIRES. Jay B 9/15/25 | OK |  | Hand Gages Master Entry | Y
230 | G70 | G | July | 70 | THRD RING | Thread Ring | 7/8-9 GO RING GAGE | S.G.Co |  |  | 2025-10-30 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
231 | G71 | G | July | 71 | THRD RING | Thread Ring | 7/8-9 NO-GO RING GAGE | S.G.Co |  |  | 2025-10-30 | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
232 | G98 | G | July | 98 | Height Stand | Dial/Digital | Height Stand | Tesa | Tesa HitE 700 | 7A 0062 03 | 2025-06-12 | Annual review | 2026-07-01 |  |  | FDH - 6/24 calibrated (use for normal calibration) 6/25 - had to be sent out for re-build due to excessive debris - MSI Viking $1300. | OK |  | Hand Gages Master Entry | Y
233 | G99 | G | July | 99 | Micrometer | Dial/Digital | 1.0001 - 2.0001" OD Mics - Mech | Brown and Sharpe | No. 48 |  | 2024-07-01 | Annual review | 2026-07-01 |  |  | New - e-bay 7-1-24. V. Fine condition NOTE: similar ring gage is G99g | OK |  | Hand Gages Master Entry | Y
234 | G100 | G | July | 100 | Micrometer | Dial/Digital | 1.0002 - 1.2002" ID Vern Mics | Mitutoyo | 368-267 | 57453 | 2024-07-01 | Annual review | 2026-07-01 |  |  | NEW through FDH July 2024 NOTE: Similar ring gage is G100g | OK |  | Hand Gages Master Entry | Y
235 | G100g | G | July | 100g | Thrd Ring | Thread Ring | M5 x .8-6g Thrd Ring NO-GO | Non-adj |  |  | 2024-07-01 | Annual review / 3 yr cert | 2026-07-01 |  |  | New 2024 - note is G100g - not G100. | OK |  | Hand Gages Master Entry | Y
236 | G99g | G | July | 99g | Thrd Ring | Thread Ring | M5 x .8-6g Thrd Ring GO | Non-adj |  |  | 2024-07-01 | Annual review / 3 yr cert | 2026-07-01 |  |  | New 2024 - note is G99g - not G99 | OK |  | Hand Gages Master Entry | Y
237 | Gage # MonthNumber | Gage # Month |  | Number | category | Unclassified | SIZE | mfr | Model/Part N | Serial No | Date of Calibratrion | Annual review | #N/A |  |  | note | #N/A |  | Hand Gages Master Entry | Y
238 | H5 | H | August | 5 | Thrd Ring | Thread Ring | (SM:0-2" / 0-50.8MM) 5/8-18 IMF-2 NOGO |  |  |  | 2025-07-07 | Annual review / 3 yr cert | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
239 | H6 | H | August | 6 | Thrd Plug | Thread Plug | 5/16 - 32 UNEF-2B Thrd Plug - Dbl | J&L GO pd 0.2922 NOGO pd 0.2964 |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-08-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
240 | H16 | H | August | 16 | Thrd Plug | Thread Plug | M24 x 3.0 - 6H Thrd Plug - Dbl | spi - pd not ind |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-08-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
241 | H27 | H | August | 27 | Thrd Plug | Thread Plug | M36 x 1.5-6H Thrd Plug - Dbl | Mercury Gage GO pd 35.026 NG pd 35.226 |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-08-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
242 | H41 | H | August | 41 | Thrd Plug | Thread Plug | 3/8-16 UNC 2B | Vermont |  |  | 2022-02-01 | Annual review / 3 yr cert | 2026-08-01 |  |  | Issued new label April 2024 | OK |  | Hand Gages Master Entry | Y
243 | H31 | H | August | 31 | Thrd Ring | Thread Ring | 1/8-27 NPT | TTC |  |  | 2025-12-09 | Annual review / 3 yr cert | 2026-08-01 | 486980-2147255 | In Tolerance | OUT OF SYNC, DUE AUG 2027 | OK |  | Hand Gages Master Entry | Y
244 | H32 | H | August | 32 | Thrd Ring | Thread Ring | 1/4-18 NPT | TTC |  |  | 2025-12-09 | Annual review / 3 yr cert | 2026-08-01 | 486980-2147256 | In Tolerance | OUT OF SYNC, DUE AUG 2027 | OK |  | Hand Gages Master Entry | Y
245 | H49 | H | August | 49 | Micrometer | Dial/Digital | 11.000 - 12.000" OD Mics | Starrett Vernier | 436 |  | 2024-12-26 | Annual review | 2026-08-01 |  |  | Floor use - cleaned tracks. | OK |  | Hand Gages Master Entry | Y
246 | H53 | H | August | 53 | Gage Pins | Unclassified | 0.061 - 0.250 Gage Pins - Minus | Vermont |  |  | 2025-05-19 | Annual review | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
247 | H54 | H | August | 54 | Hole MIcrometer | Dial/Digital | 0.425 - 0.500 ID VERN MICS | SPI |  |  | 2024-12-27 | Annual review | 2026-08-01 |  |  | entry | OK |  | Hand Gages Master Entry | Y
248 | H64 | H | August | 64 | Thrd Plug | Thread Plug | 10-32-3B Thrd Plug - dbl | Greenfield |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
249 | H65 | H | August | 65 | Thrd Plug | Thread Plug | 1 3/8 - 18 UNEF-2b Thrd Plug - dbl | Vermont gage |  |  | 2025-03-27 | Annual review / 3 yr cert | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
250 | H68 | H | August | 68 | Thrd Plug | Thread Plug | 1 - 12 UNF 2B Thrd Plug - Dbl | Thread Check GO pd 0.9459 NOGO pd 0.9535 |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-08-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
251 | H69 | H | August | 69 | Thrd Plug | Thread Plug | 1/2 - 20 UNF-2b Thrd Plg - dbl | Vermont gage |  |  | 2025-03-27 | Annual review / 3 yr cert | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
252 | H71 | H | August | 71 | Micrometer | Dial/Digital | 1.2 - 2.0 FOWLER DIGITAL INSIDE MICROMETERS |  |  | 175080072 |  | Annual review | 2026-08-01 |  |  | NOTE FOR RECORD ONLY - HAD NOT BEEN CALIBRATED SINCE 2020 - SENT OUT AND DEEMED UNREPAIRABLE. DISPOSED OF GAUGE, KEPT THE BOX | OK |  | Hand Gages Master Entry | Y
253 | H72 | H | August | 72 | Thrd Plug | Thread Plug | M37 x 1.0 6H Thrd Plug - Dbl | Thread Check GO pd 36.350 NOGO pd 36.520 |  |  | 2025-07-01 | Annual review / 3 yr cert | 2026-08-01 |  |  | 7/25 - low use - coating intact -extended 3 years | OK |  | Hand Gages Master Entry | Y
254 | H80 | H | August | 80 | Micrometer | Dial/Digital | 0.5 - 0.65 by .0002" inc ID Vern Mics | Aerospace |  | 70717244 | 2024-08-15 | Annual review | 2026-08-01 |  |  | Adjusted, cleaned, oiled. | OK |  | Hand Gages Master Entry | Y
255 | H88 | H | August | 88 | Thrd Ring | Thread Ring | M62 x 1.0 GO | Thread Check |  |  | 2024-05-02 | Annual review / 3 yr cert | 2026-08-01 |  |  | PO 93490 | OK |  | Hand Gages Master Entry | Y
256 | H89 | H | August | 89 | Thrd Ring | Thread Ring | M62 x 1.0 NO GO | Thread Check |  |  | 2024-05-02 | Annual review / 3 yr cert | 2026-08-01 |  |  | PO 93940 | OK |  | Hand Gages Master Entry | Y
257 | H91 | H | August | 91 | Thrd Ring | Thread Ring | G1 - 11 - A BSPP Thrd Ring - GO | Hong Feng GO pd 31.789 |  |  | 2025-02-24 | Annual review / 3 yr cert | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
258 | H92 | H | August | 92 | Thrd Ring | Thread Ring | G1 x 14 A Z BSPP NO GO Thrd Ring | China - solid |  |  | 2025-01-07 | Annual review / 3 yr cert | 2026-08-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
259 | H95 | H | August | 95 | Thrd Plug | Thread Plug | 1/8 - 27 NPT Taper thrd plug | Alemeda |  | K61827A | 2023-09-15 | Annual review / 3 yr cert | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
260 | H96 | H | August | 96 | Thrd Ring | Thread Ring | 1 - 8 UNC 2B Thrd Plg - dbl | Tanfel |  |  | 2024-08-28 | Annual review / 3 yr cert | 2026-08-01 |  |  | New purch Aug 2024 | OK |  | Hand Gages Master Entry | Y
261 | H97 | H | August | 97 |  | Unclassified |  |  |  |  | 2024-08-28 |  | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
262 | H98 | H | August | 98 | Thrd Plug | Thread Plug | M10 x 1.25 Thrd Plg - dbl | SPI GO PD .9188 NG PD .9276 |  |  | 2024-08-28 | Annual review / 3 yr cert | 2026-08-01 |  |  | New Purch Aug 2024 | OK |  | Hand Gages Master Entry | Y
263 | H99 | H | August | 99 | Gage pins | Unclassified | 0.251 - 0.500 Gage Pins -Minus | Vermont |  |  | 2025-08-22 | Annual review | 2026-08-01 |  |  | Assigned to Clover | OK |  | Hand Gages Master Entry | Y
264 | I25 | I | September | 25 | Thrd Ring | Thread Ring | 5/16 - 24 UNF 2A Thrd Ring Gage GO | Interstate |  |  | 2022-05-19 | Annual review / 3 yr cert | 2026-09-01 | 497356-2220701 | In Tolerance | 6/28/24 - changed label to reflect 3 yr calib. Could not find file, started new. | OK |  | Hand Gages Master Entry | Y
265 | I26 | I | September | 26 | Thrd Ring | Thread Ring | 5/16 - 24 UNF 2A Thrd Ring Gage NO GO | Interstate |  |  | 2025-06-30 | Annual review / 3 yr cert | 2026-09-01 | 497356-2220702 | In Tolerance | 6/28/24 - changed label to reflect 3 yr calib. Could not find file, started new. | OK |  | Hand Gages Master Entry | Y
266 | I27 | I | September | 27 | Thrd Ring | Thread Ring | 5/16 - 24 UNF 2A Thrd Ring Gage - GO | Interstate |  |  | 2025-07-07 | Annual review / 3 yr cert | 2026-09-01 |  |  | 6/28/24 - changed label to reflect 3 yr calib. Could not find file, started new. | OK |  | Hand Gages Master Entry | Y
267 | I30 | I | September | 30 | Thrd Plug | Thread Plug | 1/4 - 28 UNF-2b Thrd Plug - dbl | Vermont Gage |  |  | 2025-03-27 | Annual review / 3 yr cert | 2026-09-01 | 497346-2220671 | In Tolerance | Replaced "GO" end with new member & added cert to folder | OK |  | Hand Gages Master Entry | Y
268 | I34 | I | September | 34 | Gage pins | Unclassified | 0.251 - 0.500 Gage Pins - MINUS | vermont |  |  | 2025-09-13 | Annual review | 2026-09-01 |  |  | Lab set | OK |  | Hand Gages Master Entry | Y
269 | I35 | I | September | 35 | Hole MIcrometer | Dial/Digital | 0.2750 - 0.3500 Vern ID Mics | SPI |  |  | 2024-09-15 | Annual review | 2026-09-01 |  |  | Initial Entry | OK |  | Hand Gages Master Entry | Y
270 | I36 | I | September | 36 | Hole MIcrometer | Dial/Digital | 1.200 - 1.4002" ID Vern Mics | SOI |  |  | 2024-09-15 | Annual review | 2026-09-01 |  |  | Cleaned | OK |  | Hand Gages Master Entry | Y
271 | I48 | I | September | 48 | CALIPERS | Dial/Digital | 0-6.000" Origin/ledge calipers | IP Gaging | IP 54 | 170838217 | 2025-01-20 | Annual review | 2026-09-01 |  |  | Note: had been in storage, not used for some time. Check fine. | OK |  | Hand Gages Master Entry | Y
272 | I54 | I | September | 54 | Caliper | Dial/Digital | 0 - 6.000" Caliper | Mitutoyo | 500-752-20 | B19142013 | 2025-05-02 | Annual review | 2026-09-01 |  |  | minor adj & clean - worn but OK | OK |  | Hand Gages Master Entry | Y
273 | I91 | I | September | 91 | Thrd Ring | Thread Ring | M12 x 1.75-6g Thrd Ring - GO | Vermont gage |  |  | 2025-03-27 | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
274 | I95 | I | September | 95 | Thrd plug | Thread Plug | M20 x 1.5-6H Thrd Plug - dbl | Vermont Gage |  |  | 2024-11-08 | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
275 | I96 | I | September | 96 | Thrd Plug | Thread Plug | 1/4 - 20 UNC-2B Thrd Plug - dbl | SPI |  | GO-31350 NG-326299 | 2025-03-26 | Annual review / 3 yr cert | 2026-09-01 |  |  | NEW ENDS - REPLACED - starting to wear. 3/26 | OK |  | Hand Gages Master Entry | Y
276 | I103 | I | September | 103 | Thrd Plug | Thread Plug | M18 x 1.5-6H Plug Go/No Go | China |  |  | 2025-10-01 | Annual review / 3 yr cert | 2026-09-01 | 478989-2068044 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
277 | J23 | J | October | 23 | Thrd Ring | Thread Ring | 3/8 - 24 UNF - 3A Thrd Ring - GO | Greenfield std 0.3479 |  | 106903314 | 2025-05-30 | Annual review / 3 yr cert | 2026-10-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
278 | J24 | J | October | 24 | Thrd Ring | Thread Ring | 3/8 - 24 UNF 3A Thrd Ring - NO GO | Greenfield std 0.3450 |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-10-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
279 | J26 | J | October | 26 | Thrd Ring | Thread Ring | 3/8-16 UNF 2A Thrd Ring - NO GO | Interstate |  |  | 2025-07-07 | Annual review / 3 yr cert | 2026-10-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
280 | J55 | J | October | 55 | Hole MIcrometer | Dial/Digital | 1.400 - 1.6002 ID Vern Mics" | Tesa |  |  | 2023-10-15 | Annual review | 2026-10-01 |  |  | Froze up 9/24/24. NO MEASUREMENTS IN JEAPORDY. Replaced w SPI J71. Device removed from service, record retained. P. Martin, 10/2/24 | OK |  | Hand Gages Master Entry | Y
281 | J64 | J | October | 64 | Thrd Ring | Thread Ring | 3.071 STUB ACME GO RING | Thread Check |  |  | 2023-10-01 | Annual review / 3 yr cert | 2026-10-01 |  |  | Only used on cust 57 tube that we no longer make. Do not re-calibrate unless used again. Gages are in box on top of cabinet in QC. | OK |  | Hand Gages Master Entry | Y
282 | J65 | J | October | 65 | Thrd Ring | Thread Ring | 3.071 STUB ACME NOT-GO RING | Thread Check |  |  | 2023-10-01 | Annual review / 3 yr cert | 2026-10-01 |  |  | Only used on cust 57 tube that we no longer make. Do not re-calibrate unless used again. Gages are in box on top of cabinet in QC. | OK |  | Hand Gages Master Entry | Y
283 | J68 | J | October | 68 | Thrd Plug | Thread Plug | 1/8 - 27 NPT-L1 Taper Thrd Plg sngl | SPI |  | 16374 | 2025-05-14 | Annual review / 3 yr cert | 2026-10-01 |  |  | replaced end, 5/14/25 | OK |  | Hand Gages Master Entry | Y
284 | J70 | J | October | 70 | Caliper | Dial/Digital | 0-8.0005"" digital calipers - employee owned | KYNUP model IP-54 |  |  | 2024-10-01 | Annual review | 2026-10-01 |  |  | Employee owned, Martrail Wilson - stickered, record. | OK |  | Hand Gages Master Entry | Y
285 | J71 | J | October | 71 | Hole MIcrometer | Dial/Digital | 1.4001 - 1.6001 ID Vern Mics | SPI | 10-734-2 |  | 2024-10-02 | Annual review | 2026-10-01 |  |  | NEW - Placed in service 10/2/24 NOTE: Replaces old TESA J55. | OK |  | Hand Gages Master Entry | Y
286 | J72 | J | October | 72 | thrd plg | Unclassified | 1 3/8-18 UN 2B LH THRD PLG GO | Northern Gauge |  | NP 30622 | 2024-10-03 | Annual review / 3 yr cert | 2026-10-01 |  |  | NEW | OK |  | Hand Gages Master Entry | Y
287 | J73 | J | October | 73 | thrd plg | Unclassified | 5/8-11 UNC 2B Thrd plg NO GO | OSG Royco GO PD 0.5660 NO GO 0.5732 |  | 002023720-9 | 2024-10-31 | Annual review / 3 yr cert | 2026-10-01 |  |  | NEW | OK |  | Hand Gages Master Entry | Y
288 | J101 | J | October | 101 | Caliper | Dial/Digital | 0-18" digital caliper | SHARS DIGITAL | D 59948 |  | 2025-10-31 | Annual review | 2026-10-01 |  |  | New, put in service 10/31/25 | OK |  | Hand Gages Master Entry | Y
289 | K29 | K | November | 29 | Thrd Plug | Thread Plug | 5/16-18 UNC 2B | SPI |  |  | 2023-03-30 | Annual review / 3 yr cert | 2026-11-01 |  |  | Issued new label April 2024 | OK |  | Hand Gages Master Entry | Y
290 | K49 | K | November | 49 | Pins | Unclassified | 0.875 + "GO" 0.881 + "NO GO | pin gages in dedicated holder |  |  | 2025-03-18 | Annual review | 2026-11-01 |  |  | Intial comp entry March 2025 - replaced broken holder. | OK |  | Hand Gages Master Entry | Y
291 | K50 | K | November | 50 | Thrd Ring | Thread Ring | (0-3" / 0-75MM) 10-32 UNF-2B |  |  |  | 2025-07-08 | Annual review / 3 yr cert | 2026-11-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
292 | K51 | K | November | 51 | Gage Pins | Unclassified | 0.501 - 0.625 Gage Pins - MINUS | Vermont |  |  | 2025-02-04 | Annual review | 2026-11-01 |  |  | initial entry | OK |  | Hand Gages Master Entry | Y
293 | K66 | K | November | 66 | Thrd ring | Thread Ring | 3-8 NPT Thrd Ring | Thread Check |  |  | 2024-11-08 | Annual review / 3 yr cert | 2026-11-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
294 | K72 | K | November | 72 | Thrd Ring | Thread Ring | 7/8-14 UNF 3A NO GO | VTG |  | 2183288 | 2024-04-26 | Annual review / 3 yr cert | 2026-11-01 |  |  | PO 93379 | OK |  | Hand Gages Master Entry | Y
295 | K76 | K | November | 76 | Thrd Plug | Thread Plug | 4-8 NPT Basic L1 Thrd Plug | Vermont Gage | 401120520 | J000772536 | 2024-11-25 | Annual review / 3 yr cert | 2026-11-01 |  |  | New from manufacturer Nov. 2024. Cost $502.57, SMW PO # 95985 from Travers Tool. Replaces L131, had been dropped, removed from service. | OK |  | Hand Gages Master Entry | Y
296 | L2 | L | December | 2 | pitch mics | Unclassified | 0 - 1 in 10 - 13 P. Pitch Mics | Starrett | 575 |  | 2024-11-08 | Annual review | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
297 | L5 | L | December | 5 | Thrd PLUG | Thread Plug | 7/16-27 UNS-2B tapered single | J&L |  |  | 2025-01-03 | Annual review / 3 yr cert | 2026-12-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
298 | L8 | L | December | 8 | Thrd ring | Thread Ring | 7/8-14 UNF-2A Thrd Ring GO | Vermont Tool & Gage | p.d. 0.8270 | 2051184 | 2024-11-08 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
299 | L10 | L | December | 10 | Thrd ring | Thread Ring | 7/8-14 UNF-2A Thrd Ring NO GO | VTG | p.d. 0.8216 | 2052842 | 2024-11-08 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
300 | L12 | L | December | 12 | Thrd Ring | Thread Ring | 1/8 - 27 NPTF-L1 Tapered Thrd Plg | LC Gage |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
301 | L13 | L | December | 13 | Thrd Ring | Thread Ring | 1/8 - 27 NPTF-L1 Tapered Thrd Plg | LC Gage |  |  | 2025-05-30 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
302 | L30 | L | December | 30 | THRD PLUG | Thread Plug | 1-14 UNS-2B Go/Nogo Thread Plug | J&L |  |  | 2025-10-30 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
303 | L35 | L | December | 35 | Thrd Ring | Thread Ring | 3/8 - 24 UNF-2a Thrd Ring - NOGO | Swanson | adj |  | 2025-03-27 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
304 | L44 | L | December | 44 | Thrd ring | Thread Ring | 1/2 - 20 UNF 2A Thrd Ring GO | J & L | p.d. .4662 | 5161 | 2024-11-08 | Annual review / 3 yr cert | 2026-12-01 |  |  | Pairs With A4 as a set. | OK |  | Hand Gages Master Entry | Y
305 | L45 | L | December | 45 | Thrd Ring | Thread Ring | 9/16-18 NF LH Thrd Ring - GO | GTD - adj |  |  | 2025-01-06 | Annual review / 3 yr cert | 2026-12-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
306 | L72 | L | December | 72 | Thrd Ring | Thread Ring | 1-12 UNF-2A Thrd Ring - GO | Vermont - ADJ |  |  | 2025-01-06 | Annual review / 3 yr cert | 2026-12-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
307 | L75 | L | December | 75 | Thrd Plug | Thread Plug | 1 1/16 - 12 UN-2b Thrd Plg - dbl | Vermont gage |  |  | 2025-03-27 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
308 | L80 | L | December | 80 | Height stand | Dial/Digital | 0-24.000" Height Gage | SPI Digital |  |  | 2024-12-20 | Annual review | 2026-12-01 |  |  | Floor use - cleaned tracks. 12/24- buffed dings off of two rails. | OK |  | Hand Gages Master Entry | Y
309 | L82 | L | December | 82 | Thrd Ring | Thread Ring | 1-5 NA-2G Thrd Ring -NO GO | Acme - Adj |  |  | 2025-01-03 | Annual review / 3 yr cert | 2026-12-01 |  |  | cert - MM records 2020 | OK |  | Hand Gages Master Entry | Y
310 | L100 | L | December | 100 | Caliper | Dial/Digital | 0 - 8.000" | Mitutoyo | 500-197-20 | 7414923 | 2025-05-22 | Annual review | 2026-12-01 |  |  | Annual | OK |  | Hand Gages Master Entry | Y
311 | L101 | L | December | 101 | Thrd Ring | Thread Ring | M30 x 1.5-6g GO | VTG |  |  | 2024-04-26 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
312 | L105 | L | December | 105 | Thrd Ring | Thread Ring | M36 x 1.5 NO GO Thrd Ring | VTG |  | 983930 | 2024-04-26 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
313 | L108 | L | December | 108 | Thrd Ring | Thread Ring | M16 x 2-6g Thrd Ring-NO GO | SPI |  |  | 2026-01-03 | Annual review / 3 yr cert | 2026-12-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
314 | L116 | L | December | 116 | Surface Finish | Unclassified | profilometer | SPI | 14-425-3 | 303541 | 2025-03-12 | Annual review | 2026-12-01 |  |  | 1) Probe 14-419-6 broke April 24. Re-qualified with regular probe. | OK |  | Hand Gages Master Entry | Y
315 | L123 | L | December | 123 | Micrometer | Dial/Digital | 0 - 1 in mic | Mitutoyo | 293-340-30 | 4515505 | Removed 1/30/23 | Annual review | 2026-12-01 |  |  | folder moved to inactive | OK |  | Hand Gages Master Entry | Y
316 | L126 | L | December | 126 | Hole MIcrometer | Dial/Digital | 0.350 - 0.425 ID BORE MICS | Brown & Sharpe | 281 |  | 2024-12-27 | Annual review | 2026-12-01 |  |  | impressively well made. | OK |  | Hand Gages Master Entry | Y
317 | L127 | L | December | 127 | Thrd Ring | Thread Ring | 3/4 - 14 BSPP Thrd Ring - GO | Gage Assembly Adj |  |  | 2025-01-06 | Annual review / 3 yr cert | 2026-12-01 |  |  | cert | OK |  | Hand Gages Master Entry | Y
318 | L130 | L | December | 130 | Thrd Ring | Thread Ring | 3/8-16 GO Ring | TTC |  |  | 2025-10-01 | Annual review / 3 yr cert | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
319 | L130 | L | December | 130 | Thrd Ring | Thread Ring | 3/8-16 Go Ring gage | Travers Tool Co |  |  | 2025-10-01 | Annual review / 3 yr cert | 2026-12-01 | 478989-2068045 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
320 | L131 | L | December | 131 | Thrd Plug | Thread Plug | 4-8 NPT Basic L1 Thrd Plug | Vermont Gage |  |  |  | Annual review / 3 yr cert | 2026-12-01 |  |  | Removed from service 11/25/24: Replaced with K76 | OK |  | Hand Gages Master Entry | Y
321 | l150 | l |  | 150 | Thrd Plug | Thread Plug | M12 x 0.5-6H Thrd Plug - dbl | InSize | 4139-12G | 4077230626 | 2024-12-02 | Annual review / 3 yr cert | 2026-12-01 |  |  | New, bought for cust 1000 p/n 171081613 from their recom- mended supplier for $117.62 | OK |  | Hand Gages Master Entry | Y
322 | G77 | G | July | 77 |  | Unclassified | [6 empty] | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
323 | G24 | G | July | 24 | THRD PLUG | Thread Plug | 7/8-14 UNF-2B | VERMONT GAGE |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
324 | G44 | G | July | 44 | RING GAGE | Unclassified | 3/4-14 NPT | VERMONT GAGE |  |  |  | Annual review / 5 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
325 | G73 | G | July | 73 | THRD PLUG GAGE | Thread Plug | 1 3/16-20 UN-2B LH | REGAL |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
326 | G74 | G | July | 74 | THRD PLUG GAGE | Thread Plug | M62 X 1.5-6H |  |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
327 | G75 | G | July | 75 | THRD PLUG GAGE | Thread Plug | M62 X 1-6H |  |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
328 | G76 | G | July | 76 | THRD RING | Thread Ring | M66 X 1.5-6G |  |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
329 | G102 | G | July | 102 | THRD RING | Thread Ring | M5 X .8 6G |  |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
330 | G103 | G | July | 103 | THRD RING | Thread Ring | M5 X .8 6G |  |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
331 | H28 | H | August | 28 | THRD PLUG | Thread Plug | M16 X 2.0-6H | GREENFIELD |  |  |  | Annual review / 3 yr cert | 2026-08-01 | 486980-2147240 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
332 | H30 | H | August | 30 | THRD RING | Thread Ring | 10-32 UNF 2A | VTG |  |  |  | Annual review / 3 yr cert | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
333 | H40 | H | August | 40 | PRECISION ID GAGE | Unclassified | .370-1.510" |  |  |  |  | Annual review | 2026-08-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
334 | H48 | H | August | 48 | THRD PLUG GAGE | Thread Plug | 7/16-20 UNF 2B | VERMONT GAGE |  |  |  | Annual review / 3 yr cert | 2026-08-01 | 486980-2147238 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
335 | H90 | H | August | 90 | THRD PLUG | Thread Plug | 3/8-16 STI | HELICOIL |  |  |  | Annual review / 3 yr cert | 2026-08-01 | 486980-2147244 | ROV |  | OK | REVIEW | Hand Gages Master Entry | Y
336 | H93 | H | August | 93 | THRD RING | Thread Ring | #12-24 GO |  |  |  |  | Annual review / 3 yr cert | 2026-08-01 | 486980-2147257 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
337 | H94 | H | August | 94 | THRD RING | Thread Ring | #12-24 NOGO |  |  |  |  | Annual review / 3 yr cert | 2026-08-01 | 486980-2147258 | Adjusted |  | OK | REVIEW | Hand Gages Master Entry | Y
338 | I46 | I | September | 46 | VENIER CALIPERS | Dial/Digital | 0-26.500 | STARRETT |  |  |  | Annual review | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
339 | I57 | I | September | 57 | THRD RING GAGE | Thread Ring | 1/4-19-BS NOGO |  |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
340 | I58 | I | September | 58 | THRD RING GAGE | Thread Ring | 1/4-19 BS GO |  |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
341 | I63 | I | September | 63 | THRD PLUG GAGE | Thread Plug | M90 X 3.0-6H GO | THREAD CHECK INC |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
342 | I64 | I | September | 64 | THRD PLUG GAGE | Thread Plug | M90 X 3.0-6H NOGO | THREAD CHECK INC |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
343 | I65 | I | September | 65 | THRD PLUG GAGE | Thread Plug | M58 X 3.0-6H GO/NOGO | THREAD CHECK INC |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
344 | I102 | I | September | 102 | CHAMFER GAGE | Unclassified | 0-90 DEGREES 0-1" | BARCOR INC |  |  |  | Annual review | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
345 | I104 | I | September | 104 | THRD PLUG GAGE | Thread Plug | M10 X 1.5 6H GO/NOGO | EMUGE |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
346 | I105 | I | September | 105 | THRD PLUG GAGE | Thread Plug | M8 X 1.25 GO/NOGO | SPI |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
347 | I61 | I | September | 61 | THRD PLUG GAGE | Thread Plug | M75 X 3.0-6H GO | THREAD CHECK INC |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
348 | I62 | I | September | 62 | THRD PLUG GAGE | Thread Plug | M75 X 3.0-6H NOGO | THREAD CHECK INC |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
349 | J100 | J | October | 100 | DIGIMATIC CALIPER | Dial/Digital | 0-12" | MITUTOYO |  |  |  | Annual review | 2026-10-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
350 | L114 | L | December | 114 | DIGIMATIC IDS INDICATOR | Dial/Digital | .0001 RES 0-.500 | MITUTOYO |  |  |  | Annual review | 2026-12-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
351 | B13 | B | February | 13 | THRD PLUG | Thread Plug | 5/16-24 UNF 2-B | J & L |  |  |  | Annual review / 3 yr cert | 2027-02-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
352 | G77 | G | July | 77 | THRD RING | Thread Ring | M66 X 1.5-6G |  |  |  |  | Annual review / 3 yr cert | 2026-07-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
353 | I3 | I | September | 3 | THRD RING | Thread Ring | 3/8-32 UNEF 2A GO | GREENFIELD |  |  |  | Annual review / 3 yr cert | 2026-09-01 | 497346-329974 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
354 | I4 | I | September | 4 | THRD RING | Thread Ring | 3/8-32 UNEF 2A NO GO | GREENFIELD |  |  |  | Annual review / 3 yr cert | 2026-09-01 | 497346-329975 | Adjusted |  | OK | REVIEW | Hand Gages Master Entry | Y
355 | I24 | I | September | 24 | THRD RING | Thread Ring | 1-11 1/2 NPT L1 | THREAD CO. |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
356 | I31 | I | September | 31 | THRD PLUG | Thread Plug | G1/8 BSP | THREAD CHECK INC |  |  |  | Annual review / 3 yr cert | 2026-09-01 | 497356-2220696 | In Tolerance |  | OK |  | Hand Gages Master Entry | Y
357 | I53 | I | September | 53 | THRD PLUG GAGE | Thread Plug | 7/16-14 UNC 2B | VERMONT |  |  | 2026-03-06 | Annual review / 3 yr cert | 2026-09-01 | 497356-2220691 | In Tolerance | Out of Sync, due Sept 2028 | OK |  | Hand Gages Master Entry | Y
358 | I67 | I | September | 67 | THRD RING GAGE | Thread Ring | 1.7/8-12UN 2A GO | THREAD CHECK |  |  |  | Annual review / 3 yr cert | 2026-09-01 | 497356-2220697 | Adjusted |  | OK | REVIEW | Hand Gages Master Entry | Y
359 | I68 | I | September | 68 | THRD RING GAGE | Thread Ring | 1.7/8-12 UN 2A NO GO | THREAD CHECK |  |  |  | Annual review / 3 yr cert | 2026-09-01 | 497356-2220700 | Adjusted |  | OK | REVIEW | Hand Gages Master Entry | Y
360 | I86 | I | September | 86 | THRD PLUG GAGE | Thread Plug | M12 X 1.0-6H | VERMONT |  |  |  | Annual review / 3 yr cert | 2026-09-01 |  |  |  | OK |  | Hand Gages Master Entry | Y
361 | I97 | I | September | 97 | PLUG | Unclassified | 1/4-20 2B | SPI |  |  |  | Annual review | 2026-09-01 | 497346-2220455 | Fail |  | OK | REVIEW | Hand Gages Master Entry | Y
362 | I98 | I | September | 98 | THRD RING | Thread Ring | 1/8-27 NPSM 2A | VTG |  |  |  | Annual review / 3 yr cert | 2026-09-01 | 497346-2220452 | Adjusted |  | OK | REVIEW | Hand Gages Master Entry | Y
363 | I99 | I | September | 99 | THRD RING | Thread Ring | 1/8-27 NPSM 2A | VTG |  |  |  | Annual review / 3 yr cert | 2026-09-01 | 497346-2220453 | Adjusted |  | OK | REVIEW | Hand Gages Master Entry | Y

## reference_lists
list_name | key | value | notes
month_codes | A | January | due month code
month_codes | B | February | due month code
month_codes | C | March | due month code
month_codes | D | April | due month code
month_codes | E | May | due month code
month_codes | F | June | due month code
month_codes | G | July | due month code
month_codes | H | August | due month code
month_codes | I | September | due month code
month_codes | J | October | due month code
month_codes | K | November | due month code
month_codes | L | December | due month code
gage_types | Thread Ring | Thread Ring | thread gages - ring
gage_types | Thread Plug | Thread Plug | thread gages - plug
gage_types | Dial/Digital | Dial/Digital | micrometers, calipers, indicators, height stands
gage_types | Fixed Position Gages | Fixed Position Gages | jo blocks, setting rings, fixed standards
gage_types | Masters | Masters | master rings, master plugs, calibration masters
gage_types | Unclassified | Unclassified | placeholder for unmapped legacy items
conditions | In Tolerance | In Tolerance | passed calibration
conditions | Adjusted | Adjusted | out of tolerance, corrected during calibration
conditions | Serviceable | Serviceable | functional/serviceable wording from cert
conditions | Rejected | Rejected | rejected / do not use
conditions | Fail | Fail | failed calibration
conditions | ROV | ROV | report of value
problem_flag | REVIEW | REVIEW | use when condition is Adjusted, Serviceable, Rejected, Fail, or ROV
business_rules | due_date_logic | Use assigned month code, not cert date | e.g. I = September regardless of cert month
business_rules | thread_ring_plug | Annual review + 3 year external cycle | shop rule
business_rules | dial_digital | Annual review | shop rule
business_rules | fixed_position | Annual review | shop rule
business_rules | masters | Annual review + 5 year external cycle | shop rule

## cert_upload_log
log_id | gage_id | cert_number | calibration_date | due_date | condition | problem_flag | status | source_vendor | import_method | verified
1 | C121 | 478989-309194 | 2025-10-01 | 2027-03-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
2 | D33 | 478989-702747 | 2025-10-01 | 2026-04-01 | In Tolerance |  | DUE SOON | MSI-Viking | manual spreadsheet update | Y
3 | D34 | 478989-702740 | 2025-10-01 | 2026-04-01 | In Tolerance |  | DUE SOON | MSI-Viking | manual spreadsheet update | Y
4 | F91 | 478989-2068041 | 2025-10-01 | 2026-06-01 | Fail | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
5 | F96 | 476357-465126 | 2025-09-10 | 2026-06-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
6 | F105 | 478989-2068148 | 2025-10-01 | 2026-06-01 | Fail | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
7 | F106 | 478989-2068149 | 2025-10-01 | 2026-06-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
8 | F111 | 476357-711584 | 2025-09-10 | 2026-06-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
9 | G10 | 481960-740459 | 2025-10-30 | 2026-07-01 | ROV | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
10 | G12 | 481960-740451 | 2025-10-30 | 2026-07-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
11 | G33 | 481960-748296 | 2025-10-31 | 2026-07-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
12 | G41 | 481960-678569 | 2025-10-30 | 2026-07-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
13 | G63 | 476357-2047373 | 2025-09-10 | 2026-07-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
14 | G64 | 478989-2068043 | 2025-10-01 | 2026-07-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
15 | G66 | 478989-2068040 | 2025-10-01 | 2026-07-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
16 | H31 | 486980-2147255 | 2025-12-09 | 2026-08-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
17 | H32 | 486980-2147256 | 2025-12-09 | 2026-08-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
18 | I25 | 497356-2220701 | 2022-05-19 | 2026-09-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
19 | I26 | 497356-2220702 | 2025-06-30 | 2026-09-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
20 | I30 | 497346-2220671 | 2025-03-27 | 2026-09-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
21 | I103 | 478989-2068044 | 2025-10-01 | 2026-09-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
22 | L130 | 478989-2068045 | 2025-10-01 | 2026-12-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
23 | H28 | 486980-2147240 |  | 2026-08-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
24 | H48 | 486980-2147238 |  | 2026-08-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
25 | H90 | 486980-2147244 |  | 2026-08-01 | ROV | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
26 | H93 | 486980-2147257 |  | 2026-08-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
27 | H94 | 486980-2147258 |  | 2026-08-01 | Adjusted | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
28 | I3 | 497346-329974 |  | 2026-09-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
29 | I4 | 497346-329975 |  | 2026-09-01 | Adjusted | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
30 | I31 | 497356-2220696 |  | 2026-09-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
31 | I53 | 497356-2220691 | 2026-03-06 | 2026-09-01 | In Tolerance |  | OK | MSI-Viking | manual spreadsheet update | Y
32 | I67 | 497356-2220697 |  | 2026-09-01 | Adjusted | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
33 | I68 | 497356-2220700 |  | 2026-09-01 | Adjusted | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
34 | I97 | 497346-2220455 |  | 2026-09-01 | Fail | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
35 | I98 | 497346-2220452 |  | 2026-09-01 | Adjusted | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y
36 | I99 | 497346-2220453 |  | 2026-09-01 | Adjusted | REVIEW | OK | MSI-Viking | manual spreadsheet update | Y

## example_cert_extraction
example_id | uploaded_file_name | gage_id_extracted | cert_number_extracted | calibration_date_extracted | condition_raw_from_cert | condition_mapped | notes_for_app
1 | I4-3.pdf | I4 | 497346-329975 | 2026-03-10 | As Found: Serviceable / As Left: Adjusted | Adjusted | Map serviceable+adjusted to Adjusted and flag REVIEW
2 | F91-9.pdf | F91 | 478989-2068041 | 2025-10-01 | As Found: Out of Tolerance / As Left: Fail | Fail | Map fail wording to Fail and flag REVIEW
3 | G10-1.pdf | G10 | 481960-740459 | 2025-10-30 | As Found: ROV / As Left: ROV | ROV | Keep as ROV and flag REVIEW
4 | C121-4.pdf | C121 | 478989-309194 | 2025-10-01 | As Found: In Tolerance / As Left: In Tolerance | In Tolerance | No problem flag
5 | I97-4.pdf | I97 | 497346-2220455 | 2026-03-06 | As Found: Out of Tolerance / As Left: Fail | Fail | No due date on cert; app should allow blank or keep existing due logic